## Nodes
NodeID | Label | Category | Group | Note
rain650 | 強降雨650mm/24hr | Hazard | 危害／初始衝擊
expo_infra | 基礎設施數量 | Exposure | 暴露度
expo_pop | 人口數 | Exposure | 暴露度
expo_build | 住商建築數 | Exposure | 暴露度
expo_ind | 工業區數 | Exposure | 暴露度
expo_agri | 農地數量 | Exposure | 暴露度
upstream_collapse | 上游崩坍 | Impact | 山區衝擊
river_fast | 河川流速過快 | Impact | 山區衝擊
river_high | 河川水位過高 | Impact | 河川衝擊
rain_gt_drain | 降雨強度 > 排水能力 | Impact | 排水衝擊
debris_flow | 土石流／土石崩落 | Impact | 山區衝擊
sediment_scour | 土石沖刷 | Impact | 山區衝擊
bridge_fail | 橋梁倒塌 | Impact | 交通設施
road_block | 道路堵方 | Impact | 交通設施
raw_turbidity | 原水濁度超過處理能力 | Impact | 供水系統
river_overtop | 河水溢堤 | Impact | 河川衝擊
local_ponding | 區域積淹水 | Impact | 淹水
large_flooding | 大範圍淹水 | Impact | 淹水
pw_facility_fail | 供電設施倒塌 | Impact | 供電設施
pw_facility_flood | 供電設施淹水 | Impact | 供電設施
road_flood | 道路淹水 | Impact | 交通設施
traffic_outage | 交通中斷 | Impact | 交通服務
water_outage | 供水中斷 | Impact | 供水服務
power_outage | 供電中斷 | Impact | 供電服務
lowland_area | 低窪地區 | Vulnerability | 地形條件
coastal_area | 沿海地區 | Vulnerability | 地形條件
imperv_ratio | 不透水鋪面比例 | Vulnerability | 土地利用
fix_pump_cap | (固)抽水機組抽水能力 | Vulnerability | 抽水機組能力
fix_pump_maint | 檢修維護頻率 | Vulnerability | 抽水機組能力
backup_power | 緊急備援發電力 | Vulnerability | 抽水機組能力
mobile_pump_cap | 移動式抽水機組抽水量能 | Vulnerability | 抽水／排水設備
basin_cap | 滯洪池蓄洪能力 | Vulnerability | 滯洪設施
basin_design | 滯洪池設計容量 | Vulnerability | 滯洪設計
basin_maint | 滯洪池清淤維護頻率 | Vulnerability | 滯洪維護
levee_cap | 堤防防洪能力 | Vulnerability | 堤防設施
levee_std | 堤防防護標準 | Vulnerability | 堤防設施
river_dredge | 河川疏濬頻率 | Vulnerability | 河道維護
levee_maint | 堤防檢修維護頻率 | Vulnerability | 堤防維護
channel_maint | 清淤維護頻率 | Vulnerability | 排水系統維護
gate_maint | 水閘門檢修維護頻率 | Vulnerability | 排水系統維護
drain_std | 排水防洪防護標準 | Vulnerability | 排水設計
drain_capacity | 區域排水能力 | Vulnerability | 綜合排水能力
flood_potential | 淹水潛勢 | Vulnerability | 綜合淹水風險
risk_flood_direct | (淹水)直接損失(生命、財產) | Risk | 淹水損失
risk_flood_health | (淹水)公衛風險 | Risk | 淹水損失
risk_water_industry | (供水)產業損失 | Risk | 供水損失
risk_power_industry | (供電)產業損失 | Risk | 供電損失
risk_power_critical | (供電)重要維生設施停擺損失 | Risk | 關鍵設施損失
risk_tr_delay | (交通)救災延遲損失 | Risk | 交通損失
risk_tr_damage | (交通)路、橋損毀損失 | Risk | 交通損失

## Edges
FromNode | ToNode | RelationType | Style | Comment
rain650 | upstream_collapse
rain650 | river_fast
rain650 | river_high
rain650 | rain_gt_drain
upstream_collapse | debris_flow
river_fast | sediment_scour
debris_flow | bridge_fail
debris_flow | road_block
debris_flow | raw_turbidity
sediment_scour | raw_turbidity
bridge_fail | traffic_outage
road_block | traffic_outage
raw_turbidity | water_outage
river_high | river_overtop
river_overtop | large_flooding
river_overtop | pw_facility_fail
rain_gt_drain | local_ponding
local_ponding | large_flooding
large_flooding | pw_facility_flood
large_flooding | road_flood
pw_facility_flood | pw_facility_fail
pw_facility_fail | power_outage
road_flood | traffic_outage
large_flooding | risk_flood_direct
large_flooding | risk_flood_health
water_outage | risk_water_industry
power_outage | risk_power_industry
power_outage | risk_power_critical
traffic_outage | risk_tr_delay
traffic_outage | risk_tr_damage
expo_infra | risk_flood_direct | modifies | dashed | 暴露度影響損失規模
expo_pop | risk_flood_direct | modifies | dashed
expo_build | risk_flood_direct | modifies | dashed
expo_ind | risk_water_industry | modifies | dashed
expo_agri | risk_water_industry | modifies | dashed
fix_pump_maint | fix_pump_cap
backup_power | fix_pump_cap
basin_design | basin_cap
basin_maint | basin_cap
levee_std | levee_cap
river_dredge | levee_cap
levee_maint | levee_cap
channel_maint | drain_std
gate_maint | drain_std
fix_pump_cap | drain_capacity
mobile_pump_cap | drain_capacity
basin_cap | drain_capacity
levee_cap | drain_capacity
drain_std | drain_capacity
imperv_ratio | drain_capacity
lowland_area | flood_potential
coastal_area | flood_potential
drain_capacity | flood_potential
flood_potential | local_ponding | influence | dashed
flood_potential | large_flooding | influence | dashed

## 節點屬性
Category
Hazard
Exposure
Vulnerability
Impact
Risk